Form C – Capital Request

| Agency Priority | 5 |
| --- | --- |
|  | Provide the Agency Priority Ranking from the Executive Summary. |

| Title | SCGSAH Chiller and Boiler Replacement |
| --- | --- |
|  | Provide a brief, descriptive title for this request. |

| Amount | $415,000 |
| --- | --- |
|  | How much is requested for this project in FY 2019-20? This amount should correspond to the total for all funding sources on the Executive Summary. |

| CPIP Priority | Priority 3 of 6 in CPIP Plan Year FY 2019-2020, first included in SCGSAH CPIP in FY 2017 |
| --- | --- |
|  | Identify the project’s CPIP plan year and priority number, along with the first year in which the project was included in the agency’s CPIP. If not included in the agency’s CPIP, please provide an explanation. If the project involves a request for appropriated state funding, briefly describe the agency’s contingency plan in the event that state funding is not made available in the amount requested. |

| Other Approvals | None |
| --- | --- |
|  | What approvals have already been obtained? Are there additional approvals that must be secured in order for the project to succeed? (Institutional board, JBRC, SFAA, etc.) |

| Long-Term Planning and Sustainability | No other funds have been invested in this project. No future capital or operating funds are anticipated after the new equipment is installed. Since this is replacement of existing equipment, no significant operating cost or savings are expected. The useful life of the replacement equipment is expected to be about 20 years. |
| --- | --- |
|  | What other funds have already been invested in this project (source/type, amount, timeframe)? Will other capital and/or operating funds for this project be requested in the future? If so, how much, and in which fiscal years? Has a source for those funds been identified/secured? What is the agency’s expectation with regard to additional annual costs or savings associated with this capital improvement? What source of funds will be impacted by those costs or savings? What is the expected useful life of the capital improvement? |

| Summary | The SCGSAH HVAC chiller and boiler will be 20 years old in 2019, and at the end of its useful life. This is the central chiller and boiler that supply cold and hot water to all the air handlers and fan coils (heat exchangers) in the campus. The chiller and boiler must be replaced at the end of its useful life to prevent campus-wide loss of HVAC. |
| --- | --- |
|  | Provide a summary of the project and explain why it is necessary. Please refer to the budget guidelines for appropriate questions and thoroughly answer all related items. |