AGY:	Budget and Control Board 19

PRD:	19960711

EFD:	19970523

EXD:	19970601

REG:	2062

FII:	5

FIV:	21

PRI:	7

PRV:	20

COM:	Labor, Commerce and Industry Committee 12 SLCI

Labor, Commerce and Industry Committee 26 HLCI

RES:	459

STA:	Final

AUT:	39-043-0060

SUB:	Minimum General Standards of Operation When Utilizing Liquefied Petroleum Gases

HST:2062

BY	DATE	ACTION DESCRIPTION	COM	ISS/VOL	EXP DATE	R. NUM

__	________	_____________________________	_______	_______	________	______

-	19960726	Proposed Reg Published in SR		7/20

-	19961031	Received by Lt.Gov. & Speaker			19970513

H	19970114	Referred to Committee	HLCI 26

H	19970123	Committee Requested Withdrawal,	HLCI 26

S	19970123	Referred to Committee	SLCI 12

-	19970211	Withdrawn and Resubmitted			19970601

S	19970304	Resolution Intro to Approve	SLCI 12			S459

S	19970417	Approved by: Rat # R42		5/21

TXT:

Resubmitted February 11, 1997

Document No. 2062

DEPARTMENT OF LABOR, LICENSING AND REGULATION

OFFICE OF THE STATE FIRE MARSHAL

CHAPTER 19

Statutory Authority: 1996 Code Sections 39-43-40(3)

Synopsis:

Revisions are being considered for minimum general standards covering the design, construction, location, installation, and operation of equipment for storing, handling, transporting by tank truck or tank trailer, and utilizing liquefied petroleum gases and specifying the odorization and degree of  odorization of these gases.

Instructions: Amend 19-304.1 to read.

Text:

Except for Sections 2-2.6.6 and 2-2.6.6(a) and (b), the provisions of the National Fire Protection Association (NFPA) Pamphlet No.58, 1995 Edition, and all referenced pamphlets therein, as provided in Section 39-43-30, Code of Laws, South Carolina, 1976, as amended, shall constitute the minimal standards covering the design, construction, location, installation and operation of equipment for storing, hauling, transporting by tank truck or tank trailer and utilizing liquefied petroleum gases and the odorization of such gases and the degree thereof.  A copy of the Pamphlet No. 58, is filed in the Office of the Legislative Council and made a part hereof by reference to the same extent as if it were hereinafter set forth in its entirety.

Fiscal Impact Statement:

No fiscal impact is expected upon State or local government.