AGY:	Clemson University - State Crop Pest Commission, Livestock Poultry Health Division 27

FII:	5

FIV:	23

PRD:	19980522

EFD:	19990528

EXD:	19990511

REG:	2320

PRI:	5

PRV:	22

COM:	Agriculture and Natural Resources Committee 1 SANR

Agriculture, Natural Resources and Environmental Affairs Committee 20 HANR

RES:	3598

STA:	Final

AUT:	46-9-10;46-9-40;46-9-50;46-13-30

SUB:	Compressed Gas Tanks/Cylinders

HST: 2320

BY	DATE	ACTION DESCRIPTION	COM	ISS/VOL	EXP DATE	R. NUM

__	________	_____________________________	_______	________	__________	_______

-	19980522	Proposed Reg Published in SR		5/22

-	19990112	Received by Lt.Gov. & Speaker			19990512

H	19990112	Referred to Committee 	HANR 20

S	19990113	Referred to Committee 	SANR 1

H	19990224	Resolution Intro to Approv	HANR 20			H3598

S	19990428	Approved by:  Rat # R45		23/5

TXT:

Document No. 2320

STATE CROP PEST COMMISSION

CHAPTER  27

Statutory Authority: 1976 Code Sections 46-9-40; 46-9-50; 46-9-10; 46-13-30

27-1081.G Compressed Gas Tanks/Cylinders

Synopsis:

This amendment to Regulation 27-1081 establishes procedures for the utilization of compressed gas tanks/cylinders in pesticide operations.

Subpart 1:  requires the use of back flow preventers on all compressed gas tanks or cylinders used in pesticide operations and prohibits the use of tanks/cylinders not so equipped.

Subpart 2:  specifies the location of the back flow prevention device.

Subpart 3:  specifies minimum operating pressures.

Instructions:   Add new Section G to Regulation 27-1081.

Text:  27-1081. G. Compressed Gas Tanks/Cylinders

(1) All persons engaged in pesticide operations shall ensure that all compressed gas tanks or cylinders which are used to supply propellant for pesticides used in fumigations or other pesticide applications are equipped with properly functioning back flow prevention devices which will prevent the entry of pesticide into the compressed gas tank or cylinder. No person shall operate any compressed gas tank or cylinder in pesticide operations unless a back flow prevention device is installed and properly functioning.

(2) The back flow prevention device must be placed between the tank/cylinder regulator and the pesticide system.

(3) Pesticide operations must cease prior to the tank/cylinder pressure falling below twice the pesticide system operating pressure, or 200 psi, whichever is greater.

Fiscal Impact Statement:

There will be no increased cost to the State or its political subdivisions, other than the cost of the back flow prevention devices, which will cost between $5.00 and $10.00 each.