Indicates Matter Stricken

Indicates New Matter

POLLED OUT OF COMMITTEE

MAJORITY FAVORABLE WITH AMENDMENT

April 28, 2004

S. 895

Introduced by Senator J. Verne Smith

S. Printed 4/28/04--S.

Read the first time February 3, 2004.

THE COMMITTEE ON

LABOR, COMMERCE AND INDUSTRY

To whom was referred a Bill (S. 895) to amend the Code of Laws of South Carolina, 1976, by adding Section 45-5-80 so as to require lodging establishments to comply before July 1, 2007, etc., respectfully

REPORT:

Has polled the Bill out with amendment, to wit:

Amend the bill, as and if amended, by striking all after the enacting words and inserting:

/				SECTION	1.	Section 45-2-70 of the 1976 Code is amended to read:

“Section 45-2-70.	The innkeeper shall post a copy of this chapter including the requirements of Section 45-5-80, together with all rules of the lodging establishment, in a conspicuous place at or near the guest registration desk.”

SECTION	2.	Chapter 5, Title 45 of the 1976 Code is amended by adding:

“Section 45-5-80.	(A)	All hotels in this State that are not required by law to have a fire sprinkler system in the building shall post a notice in a conspicuous place at or near the guest registration desk.  The posting must be on an eight and one-half inches by eleven inches sign with letters no less than three quarters of an inch in size and must state the following: ‘This facility is NOT required by law to have a fire sprinkler system.’

(B)  A hotel that violates the provisions of this section shall be fined up to two thousand dollars for each violation.  Each day constitutes a separate violation.”

SECTION 3.  Each insurer offering property insurance on a hotel must provide, with the renewal notice, the estimated savings in premium if the property was equipped with a fire sprinkler system in compliance with the latest edition of the National Fire Protection Association’s standards NFPA 13 or NFPA 13R.  Such estimated savings does not constitute a quote and is intended for comparison purposes.

SECTION	4.  This act takes effect upon approval by the Governor.			/

Renumber sections to conform.

Amend title to conform.

# A BILL

- TO AMEND THE CODE OF LAWS OF SOUTH CAROLINA, 1976, BY ADDING SECTION 45-5-80 SO AS TO REQUIRE LODGING ESTABLISHMENTS TO COMPLY BEFORE JULY 1, 2007, WITH INTERNATIONAL BUILDING CODE STANDARDS FOR FIRE SUPPRESSION AND TO DEFINE “LODGING ESTABLISHMENT”.

Be it enacted by the General Assembly of the State of South Carolina:

SECTION	1.	Chapter 5, Title 45 of the 1976 Code is amended by adding:

“Section 45-5-80.	In addition to any other applicable fire and safety requirements, before July 1, 2007, a lodging establishment in this State shall comply with the latest edition of the International Building Code standards for fire suppression in effect at that time.  As used in this section, ‘lodging establishment’ means a hotel, motel, villa, condominium, or inn in which room, lodging, or sleeping accommodations are furnished to transients for consideration.”

SECTION	2.	This act takes effect upon approval by the Governor.

----XX----